Dave Warner

An Application of Machine-Resident Intelligence,  is described.

The need to maintain a perspective

it motivates the comprehensive nature of the system,

it integrates multiple data acquisition devices, interface technologies, advanced analytical techniques, and multi-sensory rendering capabilities.

Emphasis is placed on autoadaptive machine-resident intelligence embedded at several levels.

Introduction

The system applies techniques and resources from many disciplines and is

constantly seeking to improve the measurement of human performance and the assessment of

intended efficacy.

We have had considerable success recently in our attempts to transfer new

technologies into operational prototypes for such purposes.

Devices such as gloves to measure hand

motion dynamics, surface EOG and EMG sensors for eye movement and muscle contraction, and

lightweight pressure sensor arrays for gait analysis show great promise in becoming an intelligent network of interconnected intelli-devices

. At the same time,

by developing with good complience heurstics we ensure our efforts to make these transfers permanent will not become  impeded by the lack of standard platforms, interfaces, inaccessible file formats, as well as the user community's lack of time,technical expertise, and adequate budgets.

Until now no cost-effective solution appeared possible.

We intend to design develop and test

an interface system which is fundementally modular and intrinsicly built to tolerate constant reconfigurability

Recent developments in human-computer interface hardware and software, data analysis, and

expert systems

. We are currently exploring a solution,  which integrates these technologies and methods into a

comprehensive system designed specifically for enhancing human performance in computer assisted critical task

the fundemental design of future repurposing needs to be generic enough to act as a standard for other similar applications.

The success   depends on four things;

modular design (for distributed processing and adaptability),

integration of several data input devices into a single platform within a common interface protocol,

implementation of machine-resident intelligence (neural nets, fuzzy logic) on several levels,

creation of a development environment driven actual needs.

We detail aspects of these features below.

Data Input

A necessary feature of the HBI is the integration of a variety of data input devices into a single

system to include but not be limited to EEG, EMG, EOG, ECG, dynamic bend sensors, pressure sensors, audio and video digitizers, etc.

The resulting capacity for data fusion allows for meaningful correlations to be made across various performance modalities.

The external sensor devices and their hardware boards connect to an external module,

this allows for interchangeable inline filters

allowing the constant development of new and diverse sensor singal types

the hbi ensures imediate useability

optimized com links will  route the  sensor data both to a central multi threaded multi-tasking server and

to the rendering subsystem for immediate feedback.

This seperates the com from the use

The server should be intelligent enough to automatically implement a custom configuration of input device parameters, interface functionality,

and relevant records based on the device(s) connected and the identity of the mission(s) tasks

currently at the system.

Data Management

we will design develop and implement

The maintenance of record integrity is a significant issue.

Such integrity is achieved through security protocols, standardized data formats, error handling, and semi-automated database archiving.

The data management subsystem tasks also include linking the device data

with the master mission record and specifying sensor-specific data formats and  signiture structures.

This is the linkability for expandable intelligence

Interactive Modalities/Methodologies

The user interface will be based on new theories of human-computer interaction methodologies

,

computer-supported cooperative work

, knowledge engineering,

expert systems, and a

daptive task analysis

The system will monitor and track a user's actions, learn from them, by combining the data with the situational parameters

the system will adapt by varying aspects of the system's configuration to optimize performance.

Adaptable on-line knowledge-based help using text, graphics, sounds ,haptic displays

animated tutorials provide interactive learning and navigation.

Data Analysis

Effective   intervention relies on a comparative evaluation of a dynamics of sensor state.

The nature of the change in this state may often be quite subtle, even

imperceptible using traditional techniques.

Given that the data acquisition subsystem can detect these changes, the data analysis subsystem is designed to enhance them in ways that may then be rendered to optimize the operator's sensory modalities.

Linear and nonlinear multivariate analysis tools will be capable of processing multiple data sets in a variety of ways, including graphical analysis (phase portraits, compressed arrays, recurrence maps, etc.) and sound editing (mixing, filtering).

Work will be done to developAutomated detection of trends and correlations using fuzzy logic which may be performed in the background or in a post-processing mode.

The user may then be alerted by the system if it detects areas worthy of further investigation.

Such a feature should expedite the creation of a taxonomy of munitions specific signal signitures.

User Classification

We have anticipated differnt types of users and modes of possable use.

These types help define discrete levels of user functionality.

, the primary users of the system, are responsible for data acquisition, munitions oriented interactive biofeedback modes

the features of  data management, basic analysis, are automated

comprehensive data analysis tools.

The  use of the system will be unconstrained. Through the use of multi stadard complience

we will explore and develop custom analytical techniques.

Data Rendering Modalities

With multi-sensor data acquisition and advanced analytical characterization, the rendering

capacity of the system becomes extremely vital.

The HBI will implement multi-sensory rendering by combining recently developed 3D sound and tactile feedback systems with advanced perceptualization technologies.

Research in human sensory physiology  identifies sepecific neuro-perceptual pathways optimized for feature extraction of spatially-rendered data,and others for temporally-rendered data, and

the tactile sense for textures

This project seeks to discover and exploit interface systems shich will enhance perception of critical relationships by integrating visual, binaural, and tactile modalities.

The rendering subsystem has a near real-time  biofeedback mode for use in a field application

and a datadriven  perceptualization mode for use in refining perceptibility of subtile information

Outputs from sensing devices and analytical operations are parsed and routed to the combination of rendering modalities best suited to render that information.

to provide an open system and modular infrastructure which will expedite the implementation of new technologies into the sensibility matrix

to augment human performance with new methods of interaction and analysis.

a powerful tool